SECTION 087100 - DOOR HARDWARE

GENERAL

SUMMARY

Section includes:

Mechanical and electrified door hardware

Electronic access control system components

Section excludes:

Windows

Cabinets (casework), including locks in cabinets

Signage

Toilet accessories

Overhead doors

Related Sections:

Division 01 Section ''Alternates'' for alternates affecting this section.

Division 06 Section ''Rough Carpentry''

Division 06 Section ''Finish Carpentry''

Division 07 Section ''Joint Sealants'' for sealant requirements applicable to threshold installation specified in this section.

Division 08 Sections:

''Metal Doors and Frames''

''Flush Wood Doors''

''Interior Aluminum Doors and Frames''

''Aluminum-Framed Entrances and Storefronts''

Division 26 ''Electrical'' sections for connections to electrical power system and for low-voltage wiring.

Division 28 ''Electronic Safety and Security'' sections for coordination with other components of electronic access control system and fire alarm system.

REFERENCES

UL LLC

UL 10B - Fire Test of Door Assemblies

UL 10C - Positive Pressure Test of Fire Door Assemblies

UL 1784 - Air Leakage Tests of Door Assemblies

UL 305 - Panic Hardware

DHI - Door and Hardware Institute

Sequence and Format for the Hardware Schedule

Recommended Locations for Builders Hardware

Keying Systems and Nomenclature

Installation Guide for Doors and Hardware

NFPA – National Fire Protection Association

NFPA 70 – National Electric Code

NFPA 80 – 2016 Edition – Standard for Fire Doors and Other Opening Protectives

NFPA 101 – Life Safety Code

NFPA 105 – Smoke and Draft Control Door Assemblies

NFPA 252 – Fire Tests of Door Assemblies

ANSI - American National Standards Institute

ANSI A117.1 – 2017 Edition – Accessible and Usable Buildings and Facilities

ANSI/BHMA A156.1 - A156.29, and ANSI/BHMA A156.31 - Standards for Hardware and Specialties

ANSI/BHMA A156.28 - Recommended Practices for Keying Systems

ANSI/WDMA I.S. 1A - Interior Architectural Wood Flush Doors

ANSI/SDI A250.8 - Standard Steel Doors and Frames

SUBMITTALS

General:

Submit in accordance with Conditions of Contract and Division 01 Submittal Procedures.

Prior to forwarding submittal:

Review drawings and Sections from related trades to verify compatibility with specified hardware.

Highlight, encircle, or otherwise specifically identify on submittals: deviations from Contract Documents, issues of incompatibility or other issues which may detrimentally affect the Work.

Action Submittals:

Product Data: Submit technical product data for each item of door hardware, installation instructions, maintenance of operating parts and finish, and other information necessary to show compliance with requirements.

Riser and Wiring Diagrams: After final approval of hardware schedule, submit details of electrified door hardware, indicating:

Wiring Diagrams: For power, signal, and control wiring and including:

Details of interface of electrified door hardware and building safety and security systems.

Schematic diagram of systems that interface with electrified door hardware.

Point-to-point wiring.

Risers.

Samples for Verification: If requested by Architect, submit production sample of requested door hardware unit in finish indicated and tagged with full description for coordination with schedule.

Samples will be returned to supplier. Units that are acceptable to Architect may, after final check of operations, be incorporated into Work, within limitations of key coordination requirements.

Door Hardware Schedule:

Submit concurrent with submissions of Product Data, Samples, and Shop Drawings. Coordinate submission of door hardware schedule with scheduling requirements of other work to facilitate fabrication of other work critical in Project construction schedule.

Submit under direct supervision of a Door Hardware Institute (DHI) certified Architectural Hardware Consultant (AHC) or Door Hardware Consultant (DHC) with hardware sets in vertical format as illustrated by Sequence of Format for the Hardware Schedule published by DHI.

Indicate complete designations of each item required for each opening, include:

Door Index: door number, heading number, and Architect's hardware set number.

Quantity, type, style, function, size, and finish of each hardware item.

Name and manufacturer of each item.

Fastenings and other pertinent information.

Location of each hardware set cross-referenced to indications on Drawings.

Explanation of all abbreviations, symbols, and codes contained in schedule.

Mounting locations for hardware.

Door and frame sizes and materials.

Degree of door swing and handing.

Operational Description of openings with electrified hardware covering egress, ingress (access), and fire/smoke alarm connections.

Key Schedule:

After Keying Conference, provide keying schedule that includes levels of keying, explanations of key system's function, key symbols used, and door numbers controlled.

Use ANSI/BHMA A156.28 ''Recommended Practices for Keying Systems'' as guideline for nomenclature, definitions, and approach for selecting optimal keying system.

Provide 3 copies of keying schedule for review prepared and detailed in accordance with referenced DHI publication. Include schematic keying diagram and index each key to unique door designations.

Index keying schedule by door number, keyset, hardware heading number, cross keying instructions, and special key stamping instructions.

Provide one complete bitting list of key cuts and one key system schematic illustrating system usage and expansion. Forward bitting list, key cuts and key system schematic directly to Owner, by means as directed by Owner.

Prepare key schedule by or under supervision of supplier, detailing Owner's final keying instructions for locks.

Informational Submittals:

Provide Qualification Data for Supplier, Installer and Architectural Hardware Consultant.

Provide Product Data:

Certify that door hardware approved for use on types and sizes of labeled fire-rated doors complies with listed fire-rated door assemblies.

Include warranties for specified door hardware.

Closeout Submittals:

Operations and Maintenance Data: Provide in accordance with Division 01 and include:

Complete information on care, maintenance, and adjustment; data on repair and replacement parts, and information on preservation of finishes.

Catalog pages for each product.

Final approved hardware schedule edited to reflect conditions as installed.

Final keying schedule

Copy of warranties including appropriate reference numbers for manufacturers to identify project.

As-installed wiring diagrams for each opening connected to power, both low voltage and 110 volts.

QUALITY ASSURANCE

Qualifications and Responsibilities:

Supplier: Recognized architectural hardware supplier with a minimum of 5 years documented experience supplying both mechanical and electromechanical door hardware similar in quantity, type, and quality to that indicated for this Project.  Supplier to be recognized as a factory direct distributor by the manufacturer of the primary materials with a warehousing facility in the Project’s vicinity. Supplier to have on staff, a certified Architectural Hardware Consultant (AHC) or Door Hardware Consultant (DHC) available to Owner, Architect, and Contractor, at reasonable times during the Work for consultation.

Installer: Qualified tradesperson skilled in the application of commercial grade hardware with experience installing door hardware similar in quantity, type, and quality as indicated for this Project.

Architectural Hardware Consultant: Person who is experienced in providing consulting services for door hardware installations that are comparable in material, design, and extent to that indicated for this Project and meets these requirements:

For door hardware: DHI certified AHC or DHC.

Can provide installation and technical data to Architect and other related subcontractors.

Can inspect and verify components are in working order upon completion of installation.

Capable of producing wiring diagram and coordinating installation of electrified hardware with Architect and electrical engineers.

Single Source Responsibility: Obtain each type of door hardware from single manufacturer.

Certifications:

Fire-Rated Door Openings:

Provide door hardware for fire-rated openings that complies with NFPA 80 and requirements of authorities having jurisdiction.

Provide only items of door hardware that are listed products tested by UL LLC, Intertek Testing Services, or other testing and inspecting organizations acceptable to authorities having jurisdiction for use on types and sizes of doors indicated, based on testing at positive pressure and according to NFPA 252 or UL 10C and in compliance with requirements of fire-rated door and door frame labels.

Smoke and Draft Control Door Assemblies:

Provide door hardware that meets requirements of assemblies tested according to UL 1784 and installed in compliance with NFPA 105

Comply with the maximum air leakage of 0.3 cfm/sq. ft. (3 cu. m per minute/sq. m) at tested pressure differential of 0.3-inch wg (75 Pa) of water.

Electrified Door Hardware

Listed and labeled as defined in NFPA 70, Article 100, by testing agency acceptable to authorities having jurisdiction.

Accessibility Requirements:

Comply with governing accessibility regulations cited in ''REFERENCES'' article 087100, 1.02.D3 herein for door hardware on doors in an accessible route. This project must comply with all Federal Americans with Disability Act regulations and all Local Accessibility Regulations.

Pre-Installation Meetings

Keying Conference

Incorporate keying conference decisions into final keying schedule after reviewing door hardware keying system including:

Function of building, flow of traffic, purpose of each area, degree of security required, and plans for future expansion.

Preliminary key system schematic diagram.

Requirements for key control system.

Requirements for access control.

Address for delivery of keys.

Pre-installation Conference

Review and finalize construction schedule and verify availability of materials, Installer's personnel, equipment, and facilities needed to make progress and avoid delays.

Inspect and discuss preparatory work performed by other trades.

Inspect and discuss electrical roughing-in for electrified door hardware.

Review sequence of operation for each type of electrified door hardware.

Review required testing, inspecting, and certifying procedures.

Review questions or concerns related to proper installation and adjustment of door hardware.

Electrified Hardware Coordination Conference:

Prior to ordering electrified hardware, schedule and hold meeting to coordinate door hardware with security, electrical, doors and frames, and other related suppliers.

DELIVERY, STORAGE, AND HANDLING

Inventory door hardware on receipt and provide secure lock-up for hardware delivered to Project site. Promptly replace products damaged during shipping.

Tag each item or package separately with identification coordinated with final door hardware schedule, and include installation instructions, templates, and necessary fasteners with each item or package. Deliver each article of hardware in manufacturer's original packaging.

Maintain manufacturer-recommended environmental conditions throughout storage and installation periods.

Provide secure lock-up for door hardware delivered to Project. Control handling and installation of hardware items so that completion of Work will not be delayed by hardware losses both before and after installation.

Handle hardware in manner to avoid damage, marring, or scratching. Correct, replace or repair products damaged during Work. Protect products against malfunction due to paint, solvent, cleanser, or any chemical agent.

Deliver keys to manufacturer of key control system for subsequent delivery to Owner.

COORDINATION

Coordinate layout and installation of floor-recessed door hardware with floor construction. Cast anchoring inserts into concrete.

Installation Templates: Distribute for doors, frames, and other work specified to be factory or shop prepared. Check Shop Drawings of other work to confirm that adequate provisions are made for locating and installing door hardware to comply with indicated requirements.

Security: Coordinate installation of door hardware, keying, and access control with Owner's security consultant.

Electrical System Roughing-In: Coordinate layout and installation of electrified door hardware with connections to power supplies and building safety and security systems.

WARRANTY

Manufacturer's standard form in which manufacturer agrees to repair or replace components of door hardware that fail in materials or workmanship within published warranty period.

Warranty does not cover damage or faulty operation due to improper installation, improper use or abuse.

Warranty Period: Beginning from date of Substantial Completion, for durations indicated in manufacturer's published listings.

Mechanical Warranty

Locks

Schlage ND Series: 10 years

Falcon: 10 years

Exit Devices

Falcon: 10 years

Closers

Falcon SC Series: 10 years

Electrical Warranty

Locks

Schlage: 1 year

Exit Devices

Falcon: 1 year

MAINTENANCE

Furnish complete set of special tools required for maintenance and adjustment of hardware, including changing of cylinders.

Turn over unused materials to Owner for maintenance purposes.

PRODUCTS

MANUFACTURERS

The Owner requires use of certain products for their unique characteristics and project suitability to ensure continuity of existing and future performance and maintenance standards. After investigating available product offerings, the Awarding Authority has elected to prepare proprietary specifications. These products are specified with the notation: ''No Substitute.''

Where ''No Substitute'' is noted, submittals and substitution requests for other products will not be considered.

Approval of alternate manufacturers and/or products other than those listed as ''Scheduled Manufacturer'' or ''Acceptable Manufacturers'' in the individual article for the product category are only to be considered by official substitution request in accordance with section 01 25 00.

Approval of products from manufacturers indicated in ''Acceptable Manufacturers'' is contingent upon those products providing all functions and features and meeting all requirements of scheduled manufacturer's product.

Where specified hardware is not adaptable to finished shape or size of members requiring hardware, furnish suitable types having same operation and quality as type specified, subject to Architect's approval.

MATERIALS

Fabrication

Provide door hardware manufactured to comply with published templates generally prepared for machine, wood, and sheet metal screws. provide screws according to manufacturer’s recognized installation standards for application intended.

Finish exposed screws to match hardware finish, or, if exposed in surfaces of other work, to match finish of this other work including prepared for paint surfaces to receive painted finish.

Provide concealed fasteners wherever possible for hardware units exposed when door is closed. Coordinate with “Metal Doors and Frames”, “Flush Wood Doors” to ensure proper reinforcements. Advise the Architect where visible fasteners, such as thru bolts, are required.

Provide screws, bolts, expansion shields, drop plates and other devices necessary for hardware installation.

Where fasteners are exposed to view: Finish to match adjacent door hardware material.

Cable and Connectors:

Where scheduled in the hardware sets, provide each item of electrified hardware and wire harnesses with number and gage of wires enough to accommodate electric function of specified hardware.

Provide Molex connectors that plug directly into connectors from harnesses, electric locking and power transfer devices.

Provide through-door wire harness for each electrified locking device installed in a door and wire harness for each electrified hinge, electrified continuous hinge, electrified pivot, and electric power transfer for connection to power supplies.

HINGES

Manufacturers and Products:

Scheduled Manufacturer and Product:

Ives 5BB series

Acceptable Manufacturers and Products:

McKinney TB series

Best FBB series

Requirements:

Provide hinges conforming to ANSI/BHMA A156.1.

Provide five knuckle, ball bearing hinges.

1-3/4 inch (44 mm) thick doors, up to and including 36 inches (914 mm) wide:

Exterior: Standard weight, bronze or stainless steel, 4-1/2 inches (114 mm) high

Interior: Standard weight, steel, 4-1/2 inches (114 mm) high

1-3/4 inch (44 mm) thick doors over 36 inches (914 mm) wide:

Exterior: Heavy weight, bronze/stainless steel, 5 inches (127 mm) high

Interior: Heavy weight, steel, 5 inches (127 mm) high

2 inches or thicker doors:

Exterior: Heavy weight, bronze or stainless steel, 5 inches (127 mm) high

Interior: Heavy weight, steel, 5 inches (127 mm) high

Adjust hinge width for door, frame, and wall conditions to allow proper degree of opening.

Provide three hinges per door leaf for doors 90 inches (2286 mm) or less in height, and one additional hinge for each 30 inches (762 mm) of additional door height.

Hinge Pins: Except as otherwise indicated, provide hinge pins as follows:

Steel Hinges: Steel pins

Non-Ferrous Hinges: Stainless steel pins

Out-Swinging Exterior Doors: Non-removable pins

Out-Swinging Interior Lockable Doors: Non-removable pins

Interior Non-lockable Doors: Non-rising pins

Provide hinges with electrified options as scheduled in the hardware sets. Provide with number and gage of wires enough to accommodate electric function of specified hardware. Locate electric hinge at second hinge from bottom or nearest to electrified locking component. Provide mortar guard for each electrified hinge specified.

PIVOT SETS

Manufacturers:

Scheduled Manufacturer:

Ives

Acceptable Manufacturers:

Dormakaba

Rixson

Requirements:

Provide pivot sets complete with oil-impregnated top pivot, unless indicated otherwise.

Where offset pivots are specified, Provide one intermediate pivot for doors less than 91 inches (2311 mm) high and one additional intermediate pivot per leaf for each additional 30 inches (762 mm) in height or fraction thereof. Intermediate pivots spaced equally not less than 25 inches (635 mm) or not more than 35 inches (889 mm) on center, for doors over 121 inches (3073 mm) high.

Provide appropriate model where pivot sets are scheduled at fire rated openings.

Provide pivots with electrified options as scheduled in the hardware sets. Provide with number and gage of wires enough to accommodate electric function of specified hardware. Locate electrified pivot nearest to electrified locking component. If manufacturer of electrified locking component requires another device for power transfer, then provide recommended power transfer device and appropriate quantity of pivots.

Provide mortar guard for each electric pivot specified, unless specified in hollow metal frame specification.

MORTISE LOCKS

Manufacturers and Products:

Scheduled Manufacturer and Product:

Falcon MA series

Acceptable Manufacturers and Products:

No Substitute

Requirements:

Provide mortise locks conforming to ANSI/BHMA A156.13 Series 1000, Grade 1, and UL Listed for 3-hour fire doors.

Provide locks manufactured from heavy gauge steel, containing components of steel with a zinc dichromate plating for corrosion resistance.

Provide lock case that is multi-function and field reversible for handing without opening case. Cylinders: Refer to ''KEYING'' article, herein.

Provide locks with standard 2-3/4 inches (70 mm) backset with full 3/4 inch (19 mm) throw stainless steel mechanical anti-friction latchbolt. Provide deadbolt with full 1-inch (25 mm) throw, constructed of stainless steel.

Provide standard ASA strikes unless extended lip strikes are necessary to protect trim.

Provide electrified options as scheduled in the hardware sets. Where scheduled, provide a request to exit (RX) switch that is actuated with rotation of inside lever.

Lever Trim: Solid brass, bronze, or stainless steel, cast or forged in design specified, with wrought roses and external lever spring cages. Provide thru-bolted levers with 2-piece spindles.

Lever Design: Gala Dane.

CYLINDRICAL LOCKS – GRADE 1

Manufacturers and Products:

Scheduled Manufacturer and Product:

Schlage ND series

Acceptable Manufacturers and Products:

No Substitute

Requirements:

Provide cylindrical locks conforming to ANSI/BHMA A156.2 Series 4000, Grade 1, and UL Listed for 3-hour fire doors.

Cylinders: Refer to ''KEYING'' article, herein.

Provide locks with standard 2-3/4 inches (70 mm) backset, unless noted otherwise, with 1/2-inch latch throw. Provide proper latch throw for UL listing at pairs.

Provide locksets with separate anti-rotation thru-bolts, and no exposed screws.

Provide independently operating levers with two external return spring cassettes mounted under roses to prevent lever sag.

Provide standard ASA strikes unless extended lip strikes are necessary to protect trim.

Provide electrified options as scheduled in the hardware sets.

Lever Trim: Solid cast levers without plastic inserts and wrought roses on both sides.

Lever Design: Rhodes.

CYLINDRICAL LOCKS – GRADE 1

Manufacturers and Products:

Scheduled Manufacturer and Product:

Falcon T series

Acceptable Manufacturers and Products:

No Substitute

Requirements:

Provide cylindrical locks conforming to ANSI/BHMA A156.2 Series 4000, Grade 1, and UL Listed for 3-hour fire doors.

Cylinders: Refer to ''KEYING'' article, herein.

Provide locks with standard 2-3/4 inches (70 mm) backset, unless noted otherwise, with 1/2-inch latch throw. Provide proper latch throw for UL listing at pairs.

Provide locksets with separate anti-rotation thru-bolts, and no exposed screws.

Provide independently operating levers with two external return spring cassettes mounted under roses to prevent lever sag.

Provide standard ASA strikes unless extended lip strikes are necessary to protect trim.

Provide electrified options as scheduled in the hardware sets.

Lever Trim: Solid cast levers without plastic inserts and wrought roses on both sides.

Lever Design: Dane.

CYLINDRICAL LOCKS – GRADE 2

Manufacturers and Products:

Scheduled Manufacturer and Product:

Falcon W series

Acceptable Manufacturers and Products:

No Substitute

Requirements:

Provide cylindrical locks conforming to ANSI/BHMA A156.2 Series 4000, Grade 2, and UL Listed for 3-hour fire doors.

Cylinders: Refer to ''KEYING'' article, herein.

Provide locks with standard 2-3/4 inches (70 mm) backset, unless noted otherwise, with 1/2-inch latch throw. Provide proper latch throw for UL listing at pairs.

Provide locksets with separate anti-rotation thru-bolts, and no exposed screws.

Provide independently operating levers with two external return spring cassettes mounted under roses to prevent lever sag.

Provide standard ASA strikes unless extended lip strikes are necessary to protect trim.

Lever Trim: Solid cast levers without plastic inserts and wrought roses on both sides.

Lever Design: Dane.

EXIT DEVICES

Manufacturers and Products:

Scheduled Manufacturer and Product:

Falcon 24/25 series

Acceptable Manufacturers and Products:

No Substitute

Requirements:

Provide exit devices tested to ANSI/BHMA A156.3 Grade 1 and UL listed for Panic Exit or Fire Exit Hardware.

Cylinders: Refer to ''KEYING'' article, herein.

Provide touchpad type exit devices, fabricated of brass, bronze, stainless steel, or aluminum, plated to standard architectural finishes to match balance of door hardware.

Touchpad must extend a minimum of one half of door width. No plastic inserts are allowed in touchpads.

Provide exit devices with deadlatching feature for security and for future addition of alarm kits and/or other electrified requirements.

Provide flush end caps for exit devices.

Provide exit devices with manufacturer's approved strikes.

Provide exit devices cut to door width and height. Install exit devices at height recommended by exit device manufacturer, allowable by governing building codes, and approved by Architect.

Mount mechanism case flush on face of doors or provide spacers to fill gaps behind devices. Where glass trim or molding projects off face of door, provide glass bead kits.

Provide cylinder or hex-key dogging as specified at non fire-rated openings.

Removable Mullions: 2 inches (51 mm) x 3 inches (76 mm) steel tube. Where scheduled as keyed removable mullion, provide type that can be removed by use of a keyed cylinder, which is self-locking when re-installed.

Provide factory drilled weep holes for exit devices used in full exterior application, highly corrosive areas, and where noted in hardware sets.

Provide electrified options as scheduled.

Provide exit devices with optional trim designs to match other lever and pull designs used on the project.

ELECTRONIC ACCESS CONTROL WIRELESS CYLINDRICAL LOCK

Manufacturers:

Scheduled Manufacturer and Product:

Schlage NDEB series (Security Vendor)

Acceptable Manufacturers and Products:

No substitute

Requirements:

ANSI/BHMA A156.2 Series 4000, Grade 1.

Florida Building Code (ASTM E330, E1886, E1996) and Miami Dade (TAS 201, 202, 203) requirements for hurricanes.

Certified to UL10C 3-hour rating, ULC-S319, FCC Part15, ADA RoHS, ICC ANSI A117.1

Listed, UL 294 - The Standard of Safety for Access Control System Units.

Compliant with ANSI/BHMA A156.25 Operation and Security interior operating range of 32 degrees F (0 degrees C) to 120 degrees F(49 degrees C) for interior use only.

Compliant with ASTM E330 for door assemblies.

Compliant with ICC / ANSI A117.1, NFPA 101, NFPA 80 and IBC Chapter 10 Cylinders: Refer to ''KEYING'' article, herein.

Provide cylindrical locksets exceeding the ANSI/BHMA A156.2 Grade 1 performance standards for strength, security, and durability in the categories below:

Abusive Locked Lever Torque Test – minimum 3,100 inch-pounds without gaining access

Offset lever pull – minimum 1,600-foot pounds without gaining access

Vertical lever impact – minimum 100 impacts without gaining access

Cycle Test - tested to minimum 16 million cycles with no visible lever sag or use of performance aids such as set screws or spacers.

Emergency Override: Provide mechanical key override; cylinders: Refer to ''KEYING'' article, herein.

Levers:

Vandal Resistance: Exterior (secure side) lever rotates freely while door remains locked, preventing damage to internal locking components from vandalism by excessive force.

Provide lever trim that operates independently of each other and is field reversible without tools.

Style: Rhodes.

Power Supply: 4 AA batteries

Provide battery powered wireless electronic products with the ability to communicate battery status and battery voltage level by means of a mobile app at door and remotely by Partner integrated software.

Features:

Ability to communicate unit's communication status.

Visual LED indicators that indicate activation, operational systems status, system error conditions and low power conditions.

Audible feedback that can be enabled or disabled.

Suitable for both interior and exterior deployment.

Employ Wi-Fi communications to permit remote view of audits and alerts, as well as provide automatic daily updates to lock configuration and user access rights.

Adaptability:

Open Architecture: Provide locksets manufactured with open architecture characteristics capable of handling new and existing access control software and credential reading technology. Can be supported by cloud-based web and mobile apps without the need for an integrated software partner.

Switches:

Door Position Sensor – magnet integrated into strike to eliminate additional door prep

Interior Cover Tamper Guard

Battery Status

Request to Exit

Interior Push Button

Credentials: Provide integral credential reader modules in the following configurations:

NFC, including peer-peer compatible, operable with both Android and IOS mobile devices

125 kHz contactless smart cards

Compatibility: Schlage, XceedID, ISONAS, HID, GE/CASI, AWID

13.56 MHz contactless smart cards

Secure section (multi-technology and smart card) compatibility: Schlage MIFARE Classic, Schlage MIFARE DESFire EV1/EV3

13.56 MHz Serial number only (multi-technology and smart card) compatibility: DESFire CSN, HID iCLASS CSN, MIFARE CSN, MIFARE DESFire EV1/EV3 CSN

Multi-technology contactless for applications requiring read capability for both 125 kHz proximity and 13.56 MHz contactless smart cards.

BLE

Records: Subject to the limitations of the attached access control system, the wireless locks possess enough storage capacity to support 5000 users and 2000 audits.

Verification time: less than or equal to 1 second for smart cards and proximity cards

ACCESS CONTROL READER

Manufacturers and Products:

Scheduled Manufacturer and Product:

Schlage MT Series (Security Vendor)

Acceptable Manufacturers and Products:

No Substitute

Requirements:

Provide access control card readers manufactured by a global company who is a recognized leader in the production of access control devices. Card reader manufactured for non-access control applications are not acceptable

Provide multi-technology contactless readers complying with ISO 14443.

Provide access control card readers capable of reading the following technologies:

CSN - DESFire® CSN, HID iCLASS® CSN, Inside Contactless PicoTag® CSN, ST Microelectronics® CSN, Texas Instruments Tag-It®, CSN, Phillips I-Code® CSN

125 KHz proximity - Schlage® Proximity, HID® Proximity, GE/CASI® Proximity, AWID® Proximity, LenelProx®

13.56 MHz Smart card - Schlage smart cards using MIFARE Classic® EV1, Schlage smart cards using MIFARE Plus®, Schlage smart cards using MIFARE® DESFire® EV1, Schlage smart cards using MIFARE® DESFire® EV2/EV3

ACCESS CONTROL CREDENTIALS

Manufacturer:

Scheduled Manufacturer:

Schlage (Security Vendor)

Acceptable Manufacturers:

No Substitute

Requirements:

Provide access control credentials ISO 14443 compliant and GSC-IS® certified compatible with access control readers that allow authorized entry and hold information specific to the user.

Provide credentials that have an ISO MIFARE microprocessor, function at 13.56 MHz, 8kbits of memory, open memory architecture, and a passive design requiring no batteries.

Provide credentials made of a composite material for added durability that have a read range of up to 4 inches, support up to a 40-bit format.

Provide credentials which, when presented to the access control reader at any angle within a minimum distance of one 1-inch, will result in an accurate reading of the card.

OFFLINE CONTROLLER

Manufacturer and Product:

Scheduled Manufacturer and Product:

Schlage CTE Engage Controller (Security Vendor)

Acceptable Manufacturers and Products:

No Substitute

Requirements:

Provide an offline single opening controller UL 294 listed and compatible with the Schlage Engage Application. Include a multi-technology reader kit.

Provide interfaces for a multi-technology credential reader, powered and dry output relays for strike, alarm, and auxiliary function, and with wireless communication capability.

Provide offline controller with the following power options:

Power Over Ethernet (POE)

.5A at 12 VDC for up to 500 feet.

1.5A at 24 VDC for up to 500 feet.

12 VDC in 2A at 12 VDC for up to 500 feet.

24 VDC in 2A at 24 VDC for up to 500 feet.

Provide offline controller with the following communication standards:

Bluetooth low energy version 4.2.

2.4 GHz Wi-Fi (IEEE 802.11b/g/n).

WPA2, WPA, WEP, 802.1x (PEAP).

Transport Layer Security (TLS) version 12.

Advanced Encryption Standard (AES) 256-bit.

Provide offline controller with the following signal inputs:

One Schlage MT11-485 or MT15-485 reader.

Request to Enter (REN).

Request to Exit (REX).

Remote Release – hardwired.

Door Position Switch (DPS).

Reader tamper (TAMP).

Provide offline controller with the following signal outputs:

Card Reader 0.3A at 12 VDC for up to 500 feet.

Locking mechanism: 2A at 30 VDC max.

Auxiliary: 2A at 30 VDC max.

Alarm: 2A at 30 VDC max.

Provide offline controller with the following with operating temperatures between -31 F (-35 C) to 151 F (66 C).

Provide offline controller with the following on board database:

up to 5,000 users

up to 2,000 audits (FIFO)

up to 16 Time Zones

up to 32 Holiday Schedules

up to 16 Schedules (lock & unlock)

Provide offline controller with the following connectivity options:

Apple or Droid smart phone – Bluetooth updates to CTE.

Wi-Fi access point – automatic daily updates (one time per day) if connected to Wi-Fi.

Provide offline controller with ''No-Tour'' with MT20W enrollment reader and Schlage 1K smart credentials (13.56 MHz).

ACCESS CONTROL PLATFORM

Manufacturers and Products:

Scheduled Manufacturer:

Schlage Engage (Security Vendor)

Acceptable Manufacturers and Products:

No Substitute

Requirements:

Provide a cloud-based platform capable of managing users, credentials, access rights, schedules, and audits.

All locks must be supplied in construction mode.

Provide a platform that supports a mobile application (app). Mobile application must allow for:

Commissioning and configuring devices

Immediately updating door files

Retrieving audit information

Performing firmware updates

Provide software set up on the owner's workstation and Mobile Device which includes:

Creation of the Owner's Account

Creation of the Project Site

Creation of the Team as directed by the Owner

Addition of five users

Set up of MT20W and update firmware

Create unique credentials and verify proper commissioning of ten locks

Provide, at the owner's request, the following on-site training prior to the expiration of the service agreement:

Completing the following with ENGAGE software:

Modifying the Team

Move in/move out procedure including

Adding and Deleting Users

Adding and Deleting Doors

Adding, assigning and programming credentials for access

Replacing or deleting lost credentials.

Retrieving and viewing of audit information

Assigning temporary access

Commissioning and verifying proper functioning between locks and credentials.

Updating firmware on the locks.

Must include a service agreement ending a year after Substantial Completion. This service agreement includes being on-site up to 16 hours for set-up and training, as listed above.

POWER SUPPLIES

Manufacturers and Products:

Scheduled Manufacturer and Product:

Schlage/Von Duprin PS900 Series (Security Vendor)

Acceptable Manufacturers and Products:

No Substitute

Requirements:

Provide power supplies approved by manufacturer of supplied electrified hardware.

Provide appropriate quantity of power supplies necessary for proper operation of electrified locking components as recommended by manufacturer of electrified locking components with consideration for each electrified component using power supply, location of power supply, and approved wiring diagrams. Locate power supplies as directed by Architect.

Provide regulated and filtered 24 VDC power supply, and UL class 2 listed.

Provide power supplies with the following features:

12/24 VDC Output, field selectable.

Class 2 Rated power limited output.

Universal 120-240 VAC input.

Low voltage DC, regulated and filtered.

Polarized connector for distribution boards.

Fused primary input.

AC input and DC output monitoring circuit w/LED indicators.

Cover mounted AC Input indication.

Tested and certified to meet UL294.

NEMA 1 enclosure.

Hinged cover w/lock down screws.

High voltage protective cover.

CYLINDERS

Manufacturers:

Scheduled Manufacturer and Product:

Schlage - Existing

Acceptable Manufacturers and Products:

No Substitute

Requirements:

Provide cylinders to match Owner’s existing key system, compliant with ANSI/BHMA A156.5; latest revision; cylinder face finished to match lockset, manufacturer’s series as indicated. Refer to “KEYING” article, herein.

KEYING

Scheduled System:

Existing system:

Provide cylinders keyed into Owner’s existing keying system managed by Owner’s locksmith, complying with guidelines in ANSI/BHMA A156.28, incorporating decisions made at keying conference.

Requirements:

Construction Keying:

Temporary Construction Cylinder Keying.

Provide construction cores that permit voiding construction keys without cylinder removal, furnished in accordance with the following requirements.

Split Key or Lost Ball Construction Keying System.

2 construction control keys, and extractor tools or keys as required to void construction keying.

12 construction change (day) keys.

Owner or Owner’s Representative will void operation of temporary construction keys.

Permanent Keying:

Provide permanent cylinders/cores keyed by the manufacturer according to the following key system.

Master Keying system as directed by the Owner.

Forward bitting list and keys separately from cylinders, by means as directed by Owner. Failure to comply with forwarding requirements will be cause for replacement of cylinders/cores involved at no additional cost to Owner.

Provide keys with the following features:

Material: Nickel silver; minimum thickness of .107-inch (2.3mm)

Patent Protection: Keys and blanks protected by one or more utility patent(s).

Identification:

Mark cylinders and keys with applicable code for identification.

Identification stamping provisions must be approved by the Architect and Owner.

Failure to comply with stamping requirements will be cause for replacement of keys involved at no additional cost to Owner.

Forward permanent keys to Owner, by means as directed by Owner.

Quantity: Furnish in the following quantities.

Change (Day) Keys: 3 per cylinder/core.

Master Keys: 6.

KEY CONTROL SYSTEM

Manufacturers:

Scheduled Manufacturer:

Telkee

Acceptable Manufacturers:

No Substitute

HPC

Lund

Requirements:

Provide key control system, including envelopes, labels, tags with self-locking key clips, receipt forms, 3-way visible card index, temporary markers, permanent markers, and standard metal cabinet, all as recommended by system manufacturer, with capacity for 150% of number of locks required for Project.

Provide complete cross index system set up by hardware supplier, and place keys on markers and hooks in cabinet as determined by final key schedule.

Provide hinged-panel type cabinet for wall mounting.

DOOR CLOSERS

Manufacturers and Products:

Scheduled Manufacturer and Product:

Falcon SC70A series

Acceptable Manufacturers and Products:

No Substitute

Requirements:

Provide door closers conforming to ANSI/BHMA A156.4 Grade 1 requirements by BHMA certified independent testing laboratory. ISO 9000 certify closers. Stamp units with date of manufacture code.

Provide door closers with fully hydraulic, full rack and pinion action with aluminum cylinder.

Closer Body: 1-1/2-inch (38 mm) diameter with 5/8-inch (16 mm) diameter heat-treated pinion journal.

Hydraulic Fluid: Fireproof, passing requirements of UL10C, and requiring no seasonal closer adjustment for temperatures ranging from 120 degrees F to -30 degrees F.

Spring Power: Continuously adjustable over full range of closer sizes, and providing reduced opening force as required by accessibility codes and standards.

Hydraulic Regulation: By tamper-proof, non-critical valves, with separate adjustment for latch speed, general speed, and backcheck.

Pressure Relief Valve (PRV) Technology: Not permitted.

Provide special templates, drop plates, mounting brackets, or adapters for arms as required for details, overhead stops, and other door hardware items interfering with closer mounting.

DOOR CLOSERS

Manufacturers and Products:

Scheduled Manufacturer and Product:

Falcon SC80A series

Acceptable Manufacturers and Products:

No Substitute

Requirements:

Provide door closers conforming to ANSI/BHMA A156.4 Grade 1 requirements by BHMA certified independent testing laboratory.

Provide door closers with fully hydraulic, full rack and pinion action with aluminum cylinder.

Closer Body: 1-1/4-inch (32 mm) diameter, with 5/8-inch (16 mm) diameter heat-treated pinion journal.

Hydraulic Fluid: Fireproof, passing requirements of UL10C, and requiring no seasonal closer adjustment for temperatures ranging from 120 degrees F to -30 degrees F.

Spring Power: Continuously adjustable over full range of closer sizes, and providing reduced opening force as required by accessibility codes and standards.

Hydraulic Regulation: By tamper-proof, non-critical valves, with separate adjustment for latch speed, general speed, and backcheck.

Pressure Relief Valve (PRV) Technology: Not permitted.

Provide special templates, drop plates, mounting brackets, or adapters for arms as required for details, overhead stops, and other door hardware items interfering with closer mounting.

DOOR TRIM

Manufacturers:

Scheduled Manufacturer:

Ives

Acceptable Manufacturers:

Burns

Trimco

Requirements:

Provide push plates, push bars, pull plates, pulls, and hands-free reversible door pulls with diameter and length as scheduled.

PROTECTION PLATES

Manufacturers:

Scheduled Manufacturer:

Ives

Acceptable Manufacturers:

Burns

Trimco

Requirements:

Provide protection plates with a minimum of 0.050 inch (1 mm) thick, beveled four edges as scheduled. Furnish with sheet metal or wood screws, finished to match plates.

Sizes plates 2 inches (51 mm) less width of door on single doors, pairs of doors with a mullion, and doors with edge guards. Size plates 1 inch (25 mm) less width of door on pairs without a mullion or edge guards.

At fire rated doors, provide protection plates over 16 inches high with UL label.

DOOR STOPS AND HOLDERS

Manufacturers:

Scheduled Manufacturer:

Ives

Acceptable Manufacturers:

Burns

Trimco

Provide door stops at each door leaf:

Provide wall stops wherever possible. Provide concave type where lockset has a push button of thumbturn.

Where a wall stop cannot be used, provide universal floor stops.

Where wall or floor stop cannot be used, provide overhead stop.

Provide roller bumper where doors open into each other and overhead stop cannot be used.

THRESHOLDS, SEALS, DOOR SWEEPS, AUTOMATIC DOOR BOTTOMS, AND GASKETING

Manufacturers:

Scheduled Manufacturer:

Zero International

Acceptable Manufacturers:

National Guard

Reese

Requirements:

Provide thresholds, weather-stripping, and gasketing systems as specified and per architectural details. Match finish of other items.

Smoke- and Draft-Control Door Assemblies: Where smoke- and draft-control door assemblies are required, provide door hardware that meets requirements of assemblies tested according to UL 1784 and installed in compliance with NFPA 105.

Provide door sweeps, seals, astragals, and auto door bottoms only of type where resilient or flexible seal strip is easily replaceable and readily available.

Size thresholds 1/2 inch (13 mm) high by 5 inches (127 mm) wide by door width unless otherwise specified in the hardware sets or detailed in the drawings.

FINISHES

FINISH: BHMA 626/652 (US26D); EXCEPT:

Hinges at Exterior Doors: BHMA 630 (US32D)

Aluminum Geared Continuous Hinges: BHMA 628 (US28)

Push Plates, Pulls, and Push Bars: BHMA 630 (US32D)

Protection Plates: BHMA 630 (US32D)

Overhead Stops and Holders: BHMA 630 (US32D)

Door Closers: Powder Coat to Match

Wall Stops: BHMA 630 (US32D)

Latch Protectors: BHMA 630 (US32D)

Weatherstripping: Clear Anodized Aluminum

Thresholds: Mill Finish Aluminum

FINISH: BHMA 622/631 (US19); EXCEPT: (Aluminum Storefront)

Door Closers: Powder Coat to Match

Weatherstripping: Black

Thresholds: Mill Finish Black

EXECUTION

EXAMINATION

Prior to installation of hardware, examine doors and frames, with Installer present, for compliance with requirements for installation tolerances, labeled fire-rated door assembly construction, wall and floor construction, and other conditions affecting performance. Verify doors, frames, and walls have been properly reinforced for hardware installation.

Examine roughing-in for electrical power systems to verify actual locations of wiring connections before electrified door hardware installation.

Submit a list of deficiencies in writing and proceed with installation only after unsatisfactory conditions have been corrected.

INSTALLATION

Mount door hardware units at heights to comply with the following, unless otherwise indicated or required to comply with governing regulations.

Standard Steel Doors and Frames: ANSI/SDI A250.8.

Custom Steel Doors and Frames: HMMA 831.

Interior Architectural Wood Flush Doors: ANSI/WDMA I.S. 1A

Installation Guide for Doors and Hardware: DHI TDH-007-20

Install door hardware in accordance with NFPA 80, NFPA 101 and provide post-install inspection, testing as specified in section 1.03.E unless otherwise required to comply with governing regulations.

Install each hardware item in compliance with manufacturer's instructions and recommendations, using only fasteners provided by manufacturer.

Do not install surface mounted items until finishes have been completed on substrate. Protect all installed hardware during painting.

Set units level, plumb and true to line and location. Adjust and reinforce attachment substrate as necessary for proper installation and operation.

Drill and countersink units that are not factory prepared for anchorage fasteners. Space fasteners and anchors according to industry standards.

Install operating parts so they move freely and smoothly without binding, sticking, or excessive clearance.

Hinges: Install types and in quantities indicated in door hardware schedule but not fewer than quantity recommended by manufacturer for application indicated.

Lock Cylinders:

Install construction cylinders to secure building and areas during construction period.

Furnish permanent keys to Owner.

Wiring: Coordinate with Division 26, ELECTRICAL and Division 28 ELECTRONIC SAFETY AND SECURITY sections for:

Conduit, junction boxes and wire pulls.

Connections to and from power supplies to electrified hardware.

Connections to fire/smoke alarm system and smoke evacuation system.

Connection of wire to door position switches and wire runs to central room or area, as directed by Architect.

Connections to panel interface modules, controllers, and gateways.

Testing and labeling wires with Architect's opening number.

Key Control System: Tag keys and place them on markers and hooks in key control system cabinet, as determined by final keying schedule.

Door Closers: Mount closers on room side of corridor doors, inside of exterior doors, and stair side of stairway doors from corridors. Mount closers so they are not visible in corridors, lobbies and other public spaces unless approved by Architect.

Closer/Holders: Mount closer/holders on room side of corridor doors, inside of exterior doors, and stair side of stairway doors.

Power Supplies: Locate power supplies as indicated or, if not indicated, above accessible ceilings or in equipment room, or alternate location as directed by Architect.

Thresholds: Set thresholds in full bed of sealant complying with requirements specified in Division 07 Section ''Joint Sealants.''

Stops: Provide floor stops for doors unless wall or other type stops are indicated in door hardware schedule. Do not mount floor stops where they may impede traffic or present tripping hazard.

Perimeter Gasketing: Apply to head and jamb, forming seal between door and frame.

Meeting Stile Gasketing: Fasten to meeting stiles, forming seal when doors are closed.

Door Bottoms and Sweeps: Apply to bottom of door, forming seal with threshold when door is closed.

ADJUSTING

Initial Adjustment: Adjust and check each operating item of door hardware and each door to ensure proper operation or function of every unit. Replace units that cannot be adjusted to operate as intended. Adjust door control devices to compensate for final operation of heating and ventilating equipment and to comply with referenced accessibility requirements.

Electric Strikes: Adjust horizontal and vertical alignment of keeper to properly engage lock bolt.

Door Closers: Adjust sweep period to comply with accessibility requirements and requirements of authorities having jurisdiction.

Occupancy Adjustment: Approximately three to six months after date of Substantial Completion, examine and readjust each item of door hardware, including adjusting operating forces, as necessary to ensure function of doors and door hardware.

CLEANING AND PROTECTION

Clean adjacent surfaces soiled by door hardware installation.

Clean operating items per manufacturer's instructions to restore proper function and finish.

Provide final protection and maintain conditions that ensure door hardware is without damage or deterioration at time of Substantial Completion.

DOOR HARDWARE SCHEDULE

The intent of the hardware specification is to specify the hardware for interior and exterior doors, and to establish a type, continuity, and standard of quality. However, it is the door hardware supplier's responsibility to thoroughly review existing conditions, schedules, specifications, drawings, and other Contract Documents to verify the suitability of the hardware specified.

Discrepancies, conflicting hardware, and missing items are to be brought to the attention of the architect with corrections made prior to the bidding process. Omitted items not included in a hardware set should be scheduled with the appropriate additional hardware required for proper application.

Hardware items are referenced in the following hardware schedule. Refer to the above specifications for special features, options, cylinders/keying, and other requirements.

Hardware Sets:

90532 OPT0321459 Version 1

Hardware Group No. 100

For use on Door #(s):

| 31 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

Provide each SGL door(s) with the following:

| QTY |  | DESCRIPTION | CATALOG NUMBER |  |  | FINISH | MFR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | EA | HINGE | 5BB1HW 5 X 4.5 NRP |  |  | 630 | IVE |
| 1 | EA | STOREROOM LOCK | T581CP6 DAN |  |  | 626 | FAL |
| 1 | EA | LOCK GUARD | LG12 |  |  | 630 | IVE |
| 1 | EA | SURFACE CLOSER | SC71A SS |  |  | 689 | FAL |
| 1 | EA | KICK PLATE | 8400 10" X 2" LDW B-CS |  |  | 630 | IVE |
| 1 | EA | RAIN DRIP | 142AA |  |  | AA | ZER |
| 1 | SET | WEATHERSTRIP | 8303AA |  |  | AA | ZER |
| 1 | EA | DOOR SWEEP | 39A |  |  | A | ZER |
| 1 | EA | THRESHOLD | 8655A-223 |  |  | A | ZER |

Hardware Group No. 200

For use on Door #(s):

| 05 | 07 | 10 | 11 | 23 | 25 |
| --- | --- | --- | --- | --- | --- |
| 26 | 27 | 28 | 29 |  |  |

Provide each SGL door(s) with the following:

| QTY |  | DESCRIPTION | CATALOG NUMBER |  |  | FINISH | MFR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | EA | HINGE | 5BB1 4.5 X 4.5 |  |  | 652 | IVE |
| 1 | EA | PASSAGE SET | W101S DAN |  |  | 626 | FAL |
| 1 | EA | WALL STOP | WS406/407CCV |  |  | 630 | IVE |
| 1 | EA | GASKETING | 188SBK PSA |  |  | BK | ZER |

Hardware Group No. 201

For use on Door #(s):

| 06 | 13 | 21 | 24 | 34 | 44 |
| --- | --- | --- | --- | --- | --- |
| 46 | 33 |  |  |  |  |

Provide each SGL door(s) with the following:

| QTY |  | DESCRIPTION | CATALOG NUMBER |  |  | FINISH | MFR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | EA | HINGE | 5BB1 4.5 X 4.5 |  |  | 652 | IVE |
| 1 | EA | ENTRY / OFFICE LOCK | W511CP6 DAN |  |  | 626 | FAL |
| 1 | EA | WALL STOP | WS406/407CCV |  |  | 630 | IVE |
| 1 | EA | GASKETING | 188SBK PSA |  |  | BK | ZER |

Hardware Group No. 202

For use on Door #(s):

| 18 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

Provide each SGL door(s) with the following:

| QTY |  | DESCRIPTION | CATALOG NUMBER |  |  | FINISH | MFR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | EA | HINGE | 5BB1 4.5 X 4.5 NRP |  |  | 652 | IVE |
| 1 | EA | ENTRY / OFFICE LOCK | W511CP6 DAN |  |  | 626 | FAL |
| 1 | EA | SURFACE CLOSER | SC81A RW/PA FC |  |  | 689 | FAL |
| 1 | EA | KICK PLATE | 8400 10" X 2" LDW B-CS |  |  | 630 | IVE |
| 1 | EA | WALL STOP | WS406/407CCV |  |  | 630 | IVE |
| 1 | EA | GASKETING | 188SBK PSA |  |  | BK | ZER |

Hardware Group No. 203

For use on Door #(s):

| 08 | 09 | 22 | 36 | 42 | 45 |
| --- | --- | --- | --- | --- | --- |

Provide each SGL door(s) with the following:

| QTY |  | DESCRIPTION | CATALOG NUMBER |  |  | FINISH | MFR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | EA | HINGE | 5BB1 4.5 X 4.5 NRP |  |  | 652 | IVE |
| 1 | EA | PRIVACY LOCK | MA311 OCCUPIED/VACANT DGM |  |  | 626 | FAL |
| 1 | EA | SURFACE CLOSER | SC81A RW/PA FC |  |  | 689 | FAL |
| 1 | EA | KICK PLATE | 8400 10" X 2" LDW B-CS |  |  | 630 | IVE |
| 1 | EA | WALL STOP | WS406/407CCV |  |  | 630 | IVE |
| 1 | EA | GASKETING | 188SBK PSA |  |  | BK | ZER |

Hardware Group No. 204

For use on Door #(s):

| 15 | 20 | 43 |  |  |  |
| --- | --- | --- | --- | --- | --- |

Provide each SGL door(s) with the following:

| QTY |  | DESCRIPTION | CATALOG NUMBER |  |  | FINISH | MFR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | EA | HINGE | 5BB1 4.5 X 4.5 |  |  | 652 | IVE |
| 1 | EA | STOREROOM LOCK | W581CP6 DAN |  |  | 626 | FAL |
| 1 | EA | WALL STOP | WS406/407CCV |  |  | 630 | IVE |
| 1 | EA | GASKETING | 188SBK PSA |  |  | BK | ZER |

Hardware Group No. 205

For use on Door #(s):

| 19 | 37 | 41 |  |  |  |
| --- | --- | --- | --- | --- | --- |

Provide each SGL door(s) with the following:

| QTY |  | DESCRIPTION | CATALOG NUMBER |  |  | FINISH | MFR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | EA | HINGE | 5BB1 4.5 X 4.5 NRP |  |  | 652 | IVE |
| 1 | EA | PASSAGE SET | W101S DAN |  |  | 626 | FAL |
| 1 | EA | SURFACE CLOSER | SC81A RW/PA FC |  |  | 689 | FAL |
| 1 | EA | KICK PLATE | 8400 10" X 2" LDW B-CS |  |  | 630 | IVE |
| 1 | EA | WALL STOP | WS406/407CCV |  |  | 630 | IVE |
| 1 | EA | GASKETING | 188SBK PSA |  |  | BK | ZER |

Hardware Group No. 206

For use on Door #(s):

| 03 | 04 | 14 | 16 |  |  |
| --- | --- | --- | --- | --- | --- |

Provide each SGL door(s) with the following:

| QTY |  | DESCRIPTION | CATALOG NUMBER |  |  | FINISH | MFR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | EA | HINGE | 5BB1 4.5 X 4.5 NRP |  |  | 652 | IVE |
| 1 | EA | WIRELESS ELECTRONIC LOCK | NDEBP6D RHO BATTERY OPERATED BY SECURITY VENDOR |  |  | 626 | SCE |
| 1 | EA | SURFACE CLOSER | SC81A RW/PA FC |  |  | 689 | FAL |
| 1 | EA | KICK PLATE | 8400 10" X 2" LDW B-CS |  |  | 630 | IVE |
| 1 | EA | WALL STOP | WS406/407CCV |  |  | 630 | IVE |
| 1 | EA | GASKETING | 188SBK PSA |  |  | BK | ZER |

DOOR NORMALLY CLOSED AND LOCKED.
PRESENT FOB / CREDENTIAL TO LOCK FOR ENTRY OR BY KEY OVERRIDE.
FREE EGRESS AT ALL TIMES.

BATTERY POWERED LOCK.

Hardware Group No. 207

For use on Door #(s):

| 30 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

Provide each SGL door(s) with the following:

| QTY |  | DESCRIPTION | CATALOG NUMBER |  |  | FINISH | MFR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | EA | HINGE | 5BB1 4.5 X 4.5 NRP |  |  | 652 | IVE |
| 1 | EA | WIRELESS ELECTRONIC LOCK | NDEBP6D RHO BATTERY OPERATED BY SECURITY VENDOR |  |  | 626 | SCE |
| 1 | EA | SURFACE CLOSER | SC81A SS FC |  |  | 689 | FAL |
| 1 | EA | KICK PLATE | 8400 10" X 2" LDW B-CS |  |  | 630 | IVE |
| 1 | EA | GASKETING | 188SBK PSA |  |  | BK | ZER |

DOOR NORMALLY CLOSED AND LOCKED.
PRESENT FOB / CREDENTIAL TO LOCK FOR ENTRY OR BY KEY OVERRIDE.
FREE EGRESS AT ALL TIMES.

BATTERY POWERED LOCK.

Hardware Group No. 208

For use on Door #(s):

| 12 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

Provide each SGL door(s) with the following:

| QTY |  | DESCRIPTION | CATALOG NUMBER |  |  | FINISH | MFR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | EA | HINGE | 5BB1 4.5 X 4.5 NRP |  |  | 652 | IVE |
| 1 | EA | CLASSROOM LOCK | W561CP6 DAN |  |  | 626 | FAL |
| 1 | EA | SURFACE CLOSER | SC81A RW/PA FC |  |  | 689 | FAL |
| 1 | EA | KICK PLATE | 8400 10" X 2" LDW B-CS |  |  | 630 | IVE |
| 1 | EA | WALL STOP | WS406/407CCV |  |  | 630 | IVE |
| 1 | EA | GASKETING | 188SBK PSA |  |  | BK | ZER |

Hardware Group No. 209

For use on Door #(s):

| 02 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

Provide each SGL door(s) with the following:

| QTY |  | DESCRIPTION | CATALOG NUMBER |  |  | FINISH | MFR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | EA | HINGE | 5BB1 4.5 X 4.5 NRP |  |  | 652 | IVE |
| 1 | EA | DBL CYL STORE LOCK | ND66P6D RHO |  |  | 626 | SCH |
| 1 | EA | SURFACE CLOSER | SC81A RW/PA FC |  |  | 689 | FAL |
| 1 | EA | KICK PLATE | 8400 10" X 2" LDW B-CS |  |  | 630 | IVE |
| 1 | EA | WALL STOP | WS406/407CCV |  |  | 630 | IVE |
| 1 | EA | GASKETING | 188SBK PSA |  |  | BK | ZER |

NOT AN EXIT OPENING.

Hardware Group No. 210

For use on Door #(s):

| 35 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

Provide each SGL door(s) with the following:

| QTY |  | DESCRIPTION | CATALOG NUMBER |  |  | FINISH | MFR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | EA | HINGE | 5BB1 4.5 X 4.5 NRP |  |  | 652 | IVE |
| 1 | EA | PASSAGE SET | W101S DAN |  |  | 626 | FAL |
| 1 | EA | SURFACE CLOSER | SC81A RW/PA FC |  |  | 689 | FAL |
| 1 | EA | KICK PLATE | 8400 10" X 2" LDW B-CS |  |  | 630 | IVE |
| 1 | EA | WALL STOP | WS406/407CCV |  |  | 630 | IVE |
| 1 | EA | GASKETING | 188SBK PSA |  |  | BK | ZER |
| 1 | EA | FINGER GUARD | 951A 48" (1219MM) |  |  | A | ZER |

Hardware Group No. 211

For use on Door #(s):

| 40 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

Provide each SGL door(s) with the following:

| QTY |  | DESCRIPTION | CATALOG NUMBER |  |  | FINISH | MFR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | EA | HINGE | 5BB1 4.5 X 4.5 NRP |  |  | 652 | IVE |
| 1 | EA | ENTRY / OFFICE LOCK | W511CP6 DAN |  |  | 626 | FAL |
| 1 | EA | SURFACE CLOSER | SC81A RW/PA FC |  |  | 689 | FAL |
| 1 | EA | KICK PLATE | 8400 10" X 2" LDW B-CS |  |  | 630 | IVE |
| 1 | EA | WALL STOP | WS406/407CCV |  |  | 630 | IVE |
| 1 | EA | GASKETING | 188SBK PSA |  |  | BK | ZER |
| 1 | EA | FINGER GUARD | 951A 48" (1219MM) |  |  | A | ZER |

Hardware Group No. 212

For use on Door #(s):

| 39 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

Provide each SGL door(s) with the following:

| QTY |  | DESCRIPTION | CATALOG NUMBER |  |  | FINISH | MFR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | EA | HINGE | 5BB1 4.5 X 4.5 |  |  | 652 | IVE |
| 1 | EA | STOREROOM LOCK | W581CP6 DAN |  |  | 626 | FAL |
| 1 | EA | WALL STOP | WS406/407CCV |  |  | 630 | IVE |
| 1 | EA | GASKETING | 188SBK PSA |  |  | BK | ZER |
| 1 | EA | FINGER GUARD | 51A-90 48" (1219MM) |  |  | A | ZER |

Hardware Group No. 213

For use on Door #(s):

| 38 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

Provide each SGL door(s) with the following:

| QTY |  | DESCRIPTION | CATALOG NUMBER |  |  | FINISH | MFR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | EA | HINGE | 5BB1 4.5 X 4.5 NRP |  |  | 652 | IVE |
| 1 | EA | PRIVACY LOCK | MA311 OCCUPIED/VACANT DGM |  |  | 626 | FAL |
| 1 | EA | SURFACE CLOSER | SC81A RW/PA FC |  |  | 689 | FAL |
| 1 | EA | KICK PLATE | 8400 10" X 2" LDW B-CS |  |  | 630 | IVE |
| 1 | EA | WALL STOP | WS406/407CCV |  |  | 630 | IVE |
| 1 | EA | GASKETING | 188SBK PSA |  |  | BK | ZER |
| 1 | EA | FINGER GUARD | 51A-90 48" (1219MM) |  |  | A | ZER |
| 1 | EA | FINGER GUARD | 951A 48" (1219MM) |  |  | A | ZER |

Hardware Group No. AL-01

For use on Door #(s):

| 01 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

Provide each PR door(s) with the following:

| QTY |  | DESCRIPTION | CATALOG NUMBER |  |  | FINISH | MFR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | EA | PIVOT SET | 7226 SET |  |  | 622 | IVE |
| 1 | EA | INTERMEDIATE PIVOT | 7226 INT |  |  | 622 | IVE |
| 1 | EA | INTERMEDIATE PIVOT | 7226PT INT TW8 CON_Y |  |  | BLK | IVE |
| 1 | EA | PANIC HARDWARE | 24-C-EO |  |  | 622 | FAL |
| 1 | EA | ELEC PANIC HARDWARE | MEL-24-C-C-718-CON 24 VDC |  |  | 622 | FAL |
| 1 | EA | MORTISE CYLINDER | 30-021 X L583-474 118 EV C |  |  | 622 | SCH |
| 2 | EA | DOOR PULL | FLAT, MATCH EXISTING BUILDING PULLS |  |  | BLK |  |
| 2 | EA | SURFACE CLOSER | SC71A SS |  |  | 622 | FAL |
| 2 | EA | PLATE/SPACER/BRKT | SC70A-XX AS REQUIRED |  |  | 622 | FAL |
| 1 | EA | RAIN DRIP | 142BK |  |  | BK | ZER |
| 1 | SET | WEATHER STRIPPING | BY ALUMINUM DOOR/FRAME SUPPLIER |  |  |  |  |
| 2 | EA | DOOR SWEEP | 39BK |  |  | BK | ZER |
| 2 | EA | MEETING STILE | 8194BK |  |  | BK | ZER |
| 1 | EA | THRESHOLD | 8655BK-223 |  |  | BK | ZER |
| 1 | EA | WIRE HARNESS | CON-XXP SIZE AS REQUIRED |  |  |  | SCH |
| 1 | EA | CNTRLR CARD READER | CTE-MTB15-485-B BY SECURITY VENDOR |  |  | B | SCE |
| 1 | EA | POWER SUPPLY | PS902-2RS-BBK BY SECURITY VENDOR |  |  | LGR | SCE |
| 1 | EA | WIRING DIAGRAMS | ELEVATION 3297 |  |  |  | VON |

DOOR NORMALLY CLOSED AND LOCKED.
PRESENT CREDENTIAL TO CARD READER FOR ENTRY OR BY KEY OVERRIDE.
FREE EGRESS AT ALL TIMES.
DOOR TO REMAIN LOCKED, FAIL SECURE DURING POWER FAILURE.

HEX DOG DEVICES DURING BUSINESS HOURS FOR PASSAGE FUNCTION.

Hardware Group No. AL-02

For use on Door #(s):

| 17 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

Provide each PR door(s) with the following:

| QTY |  | DESCRIPTION | CATALOG NUMBER |  |  | FINISH | MFR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 6 | EA | HINGE | 5BB1HW 4.5 X 4.5 NRP |  |  | FBLK/631 | IVE |
| 1 | EA | PANIC HARDWARE | 24-V-EO-LBR |  |  | 622 | FAL |
| 1 | EA | PANIC HARDWARE | 24-V-L-LBR-DANE |  |  | 622 | FAL |
| 1 | EA | MORTISE CYLINDER | 30-021 X L583-474 118 EV C |  |  | 622 | SCH |
| 2 | EA | SURFACE CLOSER | SC81A HDPA FC |  |  | 622 | FAL |
| 2 | EA | PLATE/BRKT/SPACER | SC80A-XX AS REQUIRED |  |  | 622 | FAL |
| 2 | EA | KICK PLATE | 8400 10" X 1" LDW B-CS |  |  | BLK | IVE |
| 2 | EA | WALL STOP | WS406/407CCV |  |  | BLK | IVE |
| 1 | SET | SEAL | BY ALUMINUM FRAME SUPPLIER |  |  |  |  |
| 2 | EA | MEETING STILE | 8194BK |  |  | BK | ZER |

Hardware Group No. MISC

For use on Door #(s):

| MISC |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

Provide each SGL door(s) with the following:

| QTY |  | DESCRIPTION | CATALOG NUMBER |  |  | FINISH | MFR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | EA | MULTITECH READER | MT20W USB BY SECURITY VENDOR |  |  | BLK | SCE |
| 50 | EA | CREDENTIAL | 9651T BY SECURITY VENDOR |  |  | BLK | SCE |

PROVIDE ENGAGE PROGRAMING, NDEB SETUP, TRAINING OF ENGAGE SYSTEM TO OWNER.

Hardware Group No. OH01

For use on Door #(s):

| 32 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

Provide each RU door(s) with the following:

| QTY |  | DESCRIPTION | CATALOG NUMBER |  |  | FINISH | MFR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | EA | ALL HARDWARE | BY DOOR MANUFACTURER |  |  |  |  |

END OF SECTION